User Requirement Specification

| Description of the application |  |  |  |
| --- | --- | --- | --- |
| Basic performance requirements |  |  |  |
| Sample | □Vaccines: Inactivated vaccines, live vaccines, recombinant genetic engineering vaccines, etc. □ Antibody (monoclonal antibodies / bispecific antibodies / ADCs) □ Hormones: Insulin / Growth hormone □Cell therapy (CAR-T cell therapy, stem cell therapy) / Gene therapy – viral vectors (mainly including lentivirus [LV], adenovirus [ADV], retrovirus, adeno-associated virus [AAV], etc.) / Gene therapy – non-viral vectors (mainly including naked DNA, liposomes, nanocarriers, etc.) □ Blood products: Coagulation factors, immunoglobulins, albumin Interferons □ Fusion proteins □ Cytokines □ Extracellular vesicles (exosomes) |  |  |
| Filter | □ Hollow Fiber □ Membrane | Area of Membrane If use membrane |  |
| Processing | □Clarification □Ultrafiltration (Concentration) □Diafiltration □Harvest |  |  |
| Working Flow Rate |  | Processing Time |  |
| Working pressure |  |  |  |
| Initial volume for processing |  | Final volume after processing |  |
| Scalability requirement |  |  |  |
| pH detector | □Yes □No | Location of the pH detector (Retentate/Permeate/Other) |  |
| Conductivity detector | □Yes □No | Location of the conductivity detector (Retentate/Permeate/Other) |  |
| Ultrasonic flowmeter | □Yes □No | Location of the flowmeter (Retentate/Permeate/Other) |  |
| UV detector | □Yes □No | Location of the UV detector (Retentate/Permeate/Other) |  |
| Cassetter Holder | □Yes □No | The membrane brand and size |  |
| Document Requirements |  |  |  |
| IQ / OQ | □Yes □No | FAT | □Yes □No |