| Sterilizer Selection: Core Requirements Confirmation Form |  |  |  |
| --- | --- | --- | --- |
| No. | Core Selection Factors | Customer Input / Check | Remarks |
| 1 | Required Chamber Volume | ______ L (Ref: 150 / 250 / 360 / 600 / 800 / 1000 or above) |  |
| 2 | Loading Method | □ Sterilization grids only (for smaller volumes) □ Sterilization carts + transfer carts (for 600L and above) |  |
| 3 | Door Configuration | □ Single door (Type D) □ Double door with interlock (Type S) |  |
| 4 | Chamber Material | □ 304 Stainless Steel (Standard) □ 316L Stainless Steel (Pharma/High corrosion) |  |
| 5 | Utilities (Determines site modifications) | Steam: □ External steam available (Pressure: ______ MPa) □ None Power: □ AC380V/50Hz 3-Phase 5-Wire □ None Air: □ 0.4~0.7MPa compressed air □ None |  |
| 6 | Data & Compliance (Determines software cost) | □ Standard (3-level authority + built-in printer) □ Strict (FDA 21 CFR Part 11 audit trail / Data export to SCADA) |  |
| 7 | Load Characteristics | Do you need to sterilize liquids (e.g., culture media)? □ Yes □ No |  |
| 8 | Site Access Restrictions | Doorway size for equipment entry: Width ______ mm × Height ______ mm |  |

Note to Customer:
If you are unsure about the specific parameters in Item 5 (Utilities) or Item 8 (Site dimensions), you can leave them blank. We can provide a preliminary proposal based on standard configurations first.